PERIODIC INSPECTION OF PORTABLE ELEC EQPT

INSPECTION DATE:

FORM NO.

| TYPE OF EQPT | Elec driven welding generator set / Welding transformer / Single phase welding kit |
| --- | --- |
| TAG NO. |  |  |  |
| MAKE |  | SL.NO. |  |
| MODEL NO. |  |  |  |
| LOCATION OF THE MC AT THE TIME OF INSPN |  |  |
| NAME OF THE CONTRACTOR |  |  |
| CONTRACT SUPERVISOR NAME |  |  |
| CONTACT NO. |  |  |

Please fill in the below check list and mention clearly the non-compliance if any in the remarks column.

| S.No. | Checking parameter | OK | NOT OK | Remarks |
| --- | --- | --- | --- | --- |
| 1 | IR value of the generator / transformer |  |  |  |
| 2 | Core and insulation condition of transformer |  |  |  |
| 3 | Welding generator / transformer enclosure. All the bolts / screws of the cover are secured and in place. |  |  |  |
| 4 | Condition of control PCB |  |  |  |
| 5 | Condition of rectifier diodes of welding transformer. |  |  |  |
| 6 | The power cable termination with proper lugs and glands. |  |  |  |
| 7 | Termination tightness at the socket end |  |  |  |
| 8 | Power requirement 3ph/2ph/1ph with or without neutral |  |  |  |
| 9 | Grounding of the generator / transformer unit |  |  |  |
| 10 | The current control regulator condition |  |  |  |
| 11 | Two runs of welding cable to extend both the cables to the job. |  |  |  |
| 12 | Output terminal condition |  |  |  |
| 13 | Output cable connection with proper lugs |  |  |  |
| 14 | Two runs of cables to the job. |  |  |  |
| 15 | Welding holder condition |  |  |  |
| 16 | The condition of welding cables |  |  |  |
| 17 | Generator / transformer ON/OFF switch and control |  |  |  |
| 18 | Main base frame condition and fixing bolts |  |  |  |
| 19 | Overall machine condition |  |  |  |
| 20 | Running performance of the generator / transformer. Measure current and record |  |  |  |

The above points shall be checked thoroughly and in case of any critical non – compliance the machine should not be allowed to operate until the points are complied with.

| Overall condition | OK | NOT OK |
| --- | --- | --- |
| Give brief reasons for Not OK: |
| In case of Not OK, ensure the machine is moved away from the process area and the corrective action is being taken. Inform the respective contractor and CEIL department superintendents |

Next Due date for inspection:

Suggested corrective actions:

Inspected by

| Inspected by | Name | Signature |
| --- | --- | --- |
| Elec Engineer |  |  |
| Mech Engineer |  |  |
| HSE Engineer |  |  |
| Contract representative |  |  |