PERIODIC INSPECTION OF PORTABLE ELEC EQPT

INSPECTION DATE:

FORM NO.:

| TYPE OF EQPT | Engine driven welding generator set |
| --- | --- |
| TAG NO. |  |  |  |
| MAKE |  | SL.NO. |  |
| MODEL NO. |  |  |  |
| LOCATION OF THE MC AT THE TIME OF INSPN |  |  |
| NAME OF THE CONTRACTOR |  |  |
| CONTRACT SUPERVISOR NAME |  |  |
| CONTACT NO. |  |  |

Please fill in the below check list and mention clearly the non-compliance if any in the remarks column.

| S.No. | Checking parameter | OK | NOT OK | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Battery condition |  |  |  |
| 2 | Battery terminal connection |  |  |  |
| 3 | Securing of battery |  |  |  |
| 4 | Battery dynamo condition and wiring tightness. |  |  |  |
| 5 | Negative grounding of battery |  |  |  |
| 6 | All individual cell caps are intact |  |  |  |
| 7 | Starter motor condition |  |  |  |
| 8 | Starter motor terminal connection |  |  |  |
| 10 | Alternator enclosure |  |  |  |
| 11 | Coupling guard is available? |  |  |  |
| 12 | Output terminal condition |  |  |  |
| 13 | Output cable connection with proper lugs |  |  |  |
| 14 | Two runs of cables to the job. |  |  |  |
| 15 | Welding holder condition |  |  |  |
| 16 | The condition of welding cables |  |  |  |
| 17 | The current control auto tfr condition. |  |  |  |
| 18 | Generator ignition On/OFF switch condition |  |  |  |
| Mechanical parameters |  |  |  |
| 19 | Main base frame condition and fixing bolts |  |  |  |
| 20 | Condition of acoustic enclosure |  |  |  |
| 21 | Overall engine condition |  |  |  |
| 22 | Spark arrestor in the exhaust |  |  |  |
| 23 | Spark arrestor validity. Note: The spark arrestors should be inspected and validated by cairn HSE periodically. |  |  |  |
| 24 | Diesel tank. Check for leak and cap. |  |  |  |
| 25 | Radiator overall condition. |  |  |  |
| 26 | Check for radiator water leak |  |  |  |
| 27 | Radiator water level |  |  |  |
| 28 | Run the engine and check for vibration |  |  |  |
| 29 | Battery voltage when idle |  |  |  |
| 30 | Battery voltage when engine running |  |  |  |

The above points shall be checked thoroughly and in case of any critical non – compliance the machine should not be allowed to operate until the points are complied with.

| Overall condition | OK | NOT OK |
| --- | --- | --- |
| Give brief reasons for Not OK: |
| In case of Not OK, ensure the machine is moved away from the process area and the corrective action is being taken. Inform the respective contractor and CEIL department superintendents |

Next Due date for inspection:

Suggested corrective actions:

Inspected by

| Inspected by | Name | Signature |
| --- | --- | --- |
| Elec Engineer |  |  |
| Mech Engineer |  |  |
| HSE Engineer |  |  |
| Contract representative |  |  |