PRE-USE CHECKLIST

EXTENSION BOARD AND DRILLING M/C

DATE:

FORM No.

| Spark potential permit No. |  | Permit Date |  |
| --- | --- | --- | --- |
| Performing Department |  |  |  |

| S. No. | Checking parameter | OK | Not OK | Remarks |
| --- | --- | --- | --- | --- |
| Extension Boards | Board No: |  |
| 1 | Overall condition |  |  |  |
| 2 | 30mA ELCB in place |  |  |  |
| 3 | ELCB test trip operation checked |  |  |  |
| 4 | Earth connection OK |  |  |  |
| 5 | No joint in the cable |  |  |  |
| 6 | Proper plug top / socket is provided and bare wire is not inserted into the socket |  |  |  |
| 7 | No physical damage seen on the cable |  |  |  |
| 8 | The cable is laid properly and is away from sharp objects / heated lines / grinding sparks |  |  |  |
| 9 | Periodic inspection validity & next due date |  |  |  |
| Drilling Machine | Machine No. |  |
| 1 | The drilling m/c overall condition |  |  |  |
| 2 | The drilling m/c chuck is properly tightened with drill bit. |  |  |  |
| 3 | No excessive sparks from the carbon brushes |  |  |  |
| 4 | Proper handle for holding the machine is available |  |  |  |
| 5 | Periodic inspection validity & due date |  |  |  |
| 6 | Power cable length not more than 5 mts |  |  |  |
| 7 | No joint in the cable |  |  |  |
| 8 | Proper plug top is available |  |  |  |

Note: Once the job is complete the contractor shall remove and handover the extension board and drilling machine to the respective department.

| Contractor Name | Signature of the contract supervisor | User department Engineer Name | Signature |
| --- | --- | --- | --- |