PRE-USE CHECKLIST

EXTENSION BOARD AND GRINDING M/C

DATE:

FORM NO.

| Spark potential / open flame hot work permit No. |  | Permit Date |  |
| --- | --- | --- | --- |
| Performing Department |  |  |  |

| S. No. | Checking parameter | OK | Not OK | Remarks |
| --- | --- | --- | --- | --- |
| Extension Boards | Board No: |  |
| 1 | Overall condition |  |  |  |
| 2 | 30mA ELCB in place |  |  |  |
| 3 | ELCB test trip operation checked |  |  |  |
| 4 | Earth connection OK |  |  |  |
| 5 | No joint in the cable |  |  |  |
| 6 | Proper plug top / socket is provided and bare wire is not inserted into the socket |  |  |  |
| 7 | No physical damage seen on the cable |  |  |  |
| 8 | The cable is laid properly and is away from sharp objects / heated lines / grinding sparks |  |  |  |
| 9 | Periodic inspection validity & next due date |  |  |  |
| Grinding Machine | Machine No. |  |
| 1 | The wheel guard is in place |  |  |  |
| 2 | The grinding wheel is properly secured to the machine |  |  |  |
| 3 | No excessive sparks from the carbon brushes |  |  |  |
| 4 | Proper handle for holding the machine is available |  |  |  |
| 5 | Periodic inspection validity & due date |  |  |  |
| 6 | Power cable length not more than 5 mts |  |  |  |
| 7 | No joint in the cable |  |  |  |
| 8 | Proper plug top is available |  |  |  |

Note: Once the job is complete the contractor shall remove and handover the extension boards to the respective department. If the job is to be continued for next day, the extension board and grinding machine shall be removed and secured safely.

| Contractor Name | Signature of the contract supervisor | User department Engineer Name | Signature |
| --- | --- | --- | --- |